Digtal Storage Oscilloscope

Detailed specifications:

100 MHz Dual Channel Digital Storage Oscilloscope, Sampling Rate 1G/Sa, 1Mpts.FFT Frequency Domain, Built-in DDS Signal Generator, No. of Channels-2, Complete Triggering Function (Single, Normal, Automatic), One-Button AUTO, and One- Button Waveform Storage and Screenshot Function, Built-In Minimum 1GB Storage Space, USB Interface, Display 7 “800 x 480 WVGA LCD Colour Display.

Warranty – Minimum 2 Years onsite Warranty.